## tabula-lt1-booklet-2-housing-co
Deadline | Category | Letter description | Interview description | Description | Help | Sanitary Code Section
24 hours | Heat |  | Not enough heat. | Not enough heat. | Not enough heat. | 410.201
24 hours | Heat |  | Improper venting. | Improper venting or use of space heater or water heater. | Improper venting or use of space heater or water heater. | 410.200B, 202
24 hours | Heat |  | Improper use of space heater or water heater. | Improper use of space heater or water heater. | Improper use of space heater or water heater.
24 hours | Electricity, Wiring and Gas |  | No electricity or gas. | No electricity or gas. | No electricity or gas. | 410.354
24 hours | Electricity, Wiring and Gas |  | No or inadequate electrical outlets. | No or inadequate electrical outlets or lighting in common areas. | No or inadequate electrical outlets or lighting in common areas. | 410.250(B), 251(A), 253, 254
24 hours | Electricity, Wiring and Gas |  | No or inadequate lighting in common areas. | No or inadequate lighting in common areas. | No or inadequate lighting in common areas.
24 hours | Electricity, Wiring and Gas |  | Shut-off and/or failure to restore electricity, gas, or water. | Shut-off and/or failure to restore electricity, gas, or water. | Shut-off and/or failure to restore electricity, gas, or water. | 410.750(C), 410.354
24 hours | Water |  | No safe water supply. | No safe water supply. | No safe water supply. | 410.18
24 hours | Bathroom |  | No working toilet or sewage disposal system. | No working toilet or sewage disposal system. | No working toilet or sewage disposal system. | 410.150(A)(1), 300
24 hours | Safety |  | Inadequate exits | Inadequate exits, including the obstruction of any exit, passageway, or common area through which you exit in an emergency. | Inadequate exits, including the obstruction of any exit, passageway, or common area through which you exit in an emergency. | 410.450-452
24 hours | Safety |  | Obstruction of any exit, passageway, or common area through which you exit in an emergency. | Obstruction of any exit, passageway, or common area through which you exit in an emergency. | Obstruction of any exit, passageway, or common area through which you exit in an emergency.
24 hours | Safety |  | No or inadequate locks for entry doors for the apartment. | No or inadequate locks for entry doors for either the apartment or building. | No or inadequate locks for entry doors for either the apartment or building. | 410.480(D)
24 hours | Safety |  | No or inadequate locks for entry doors for the building. | No or inadequate locks for entry doors for the building. | No or inadequate locks for entry doors for the building.
24 hours | Garbage |  | Accumulation of garbage or filth. | Accumulation of garbage or filth that may provide food or shelter for rodents, insects, or other pests; or that may contribute to accidents or disease. | Accumulation of garbage or filth that may provide food or shelter for rodents, insects, or other pests; or that may contribute to accidents or disease. | 410.600, 601, 602
24 hours | Lead Paint |  | Lead paint. | Lead paint that a child under age 6 could reach. | Lead paint that a child under age 6 could reach. | 105 C.M.R 460, G.L. c. 111, §190-199
24 hours | Structural Maintenance |  | Roof defects. | Roof, foundation, or other structural defects that may expose you to fire, burns, shock, accident, or other danger. | Roof, foundation, or other structural defects that may expose you to fire, burns, shock, accident, or other danger. | 410.5
24 hours | Structural Maintenance |  | Foundation defects. | Foundation defects. | Foundation defects.
24 hours | Structural Maintenance |  | Other structural defects. | Other structural defects. | Other structural defects.
24 hours | General Maintenance |  | Improperly installed or maintained electrical. | Improperly installed or maintained electrical, plumbing, or heating appliances or equipment that expose the occupant to fire, burns, shock, accident, or other dangers. | Improperly installed or maintained electrical, plumbing, or heating appliances or equipment that expose the occupant to fire, burns, shock, accident, or other dangers. | 410.351
24 hours | General Maintenance |  | Improperly installed or maintained plumbing. | Improperly installed or maintained plumbing. | Improperly installed or maintained plumbing.
24 hours | General Maintenance |  | Improperly installed or maintained heating applicances. | Improperly installed or maintained heating applicances. | Improperly installed or maintained heating applicances.
24 hours | Water |  | No or not enough hot or cold water (including amount, pressure, and temperature) for 24 hours or longer. | No or not enough hot or cold water (including amount, pressure, and temperature) for 24 hours or longer. | No or not enough hot or cold water (including amount, pressure, and temperature) for 24 hours or longer. | 410.180, 190
24 hours | Safety |  | No smoke detector in good working order. | No smoke detector or carbon monoxide alarm in good working order. | No smoke detector or carbon monoxide alarm in good working order. | 410.482
24 hours | Safety |  | No carbon monoxide alarm in good working order. | No carbon monoxide alarm in good working order. | No carbon monoxide alarm in good working order.
24 hours | Safety |  | Any defect in building materials that may lead to release of asbestos dust. | Any defect in building materials that may lead to release of asbestos dust. | Any defect in building materials that may lead to release of asbestos dust. | 410.353
24 hours | Safety |  | Any other violation of the Sanitary Code the inspector finds dangerous to health and safety. | Any other violation of the Sanitary Code the inspector finds dangerous to health and safety. | Any other violation of the Sanitary Code the inspector finds dangerous to health and safety. | 410.750(P)
5 days | Kitchen |  | Kitchen sink is too small or not in good working condition. | Kitchen sink is too small, or sink, stove, or oven is not in good working condition. | Kitchen sink is too small, or sink, stove, or oven is not in good working condition. | 410.1
5 days | Kitchen |  | Stove or oven is not in good working condition. | Stove or oven is not in good working condition. | Stove or oven is not in good working condition.
5 days | Bathroom |  | Sink in the bathroom not in good working condition. | Sink, tub, or shower in the bathroom not in good working condition. | Sink, tub, or shower in the bathroom not in good working condition. | 410.150(A)(2) and (3)
5 days | Bathroom |  | Tub or shower in the bathroom is not in good working condition. | Tub or shower in the bathroom is not in good working condition. | Tub or shower in the bathroom is not in good working condition.
5 days | Structural Maintenance |  | No or unsafe handrails or protective railings on porches, roofs, stairways, or other similar places. | No or unsafe handrails or protective railings on porches, roofs, stairways, or other similar places. | No or unsafe handrails or protective railings on porches, roofs, stairways, or other similar places. | 410.503(A) and (B)
5 days | General Maintenance |  | Other electrical, plumbing, or heating system defects. | Any defect in electrical, plumbing, or heating system that violates generally accepted standards but does not create an immediate hazard. | Any defect in electrical, plumbing, or heating system that violates generally accepted standards but does not create an immediate hazard. | 410.750(O)(3)
5 days | Rodents and insects |  | Cockroach or insects. | Cockroach, insect. | Cockroach, insect. | 410.55
5 days | Rodents and insects |  | Rodent infestation. | Rodent infestation. | Rodent infestation. | 410.55
30 Days | Kitchen |  | Sink is not large enough to wash dishes. | Sink must be large enough to wash dishes, get hot and cold water, and have proper drainage. | Sink must be large enough to wash dishes, get hot and cold water, and have proper drainage. | 410.100(A)(1), 410.350(A)
30 Days | Kitchen |  | Sink does not get hot and cold water. | Sink does not get hot and cold water. | Sink does not get hot and cold water.
30 Days | Kitchen |  | Sink does not have proper drainage. | Sink does not have proper drainage. | Sink does not have proper drainage.
30 Days | Kitchen |  | There is not an oven or stove in good working condition and there is no agreement in writing that says it must be provided by the tenant. | Landlord must provide a stove and oven in good working condition (unless written agreement requires tenant to provide these). | Landlord must provide a stove and oven in good working condition (unless written agreement requires tenant to provide these). | 410.100(A)(2)
30 Days | Kitchen |  | There is at least one sink, landlord-installed refrigerator or stove, or gas- and oil-burning equipment that is not in good working condition. | All sinks, landlord-installed refrigerators and stoves, and gas- and oil-burning equipment must be in good working condition. | All sinks, landlord-installed refrigerators and stoves, and gas- and oil-burning equipment must be in good working condition. | 410.351
30 Days | Kitchen |  | No working light fixture. | At least one working light fixture must be provided. | At least one working light fixture must be provided. | 410.251
30 Days | Kitchen |  | Less than two wall outlets in the kitchen. | At least two wall outlets must be provided. | At least two wall outlets must be provided. | 410.251
30 Days | Kitchen |  | Carpet lacks a nonabsorbent and water- repellent backing. | Carpets on floors must have a nonabsorbent and water- repellent backing. | Carpets on floors must have a nonabsorbent and water- repellent backing. | 410.504
30 Days | Kitchen |  | Floors are not smooth or noncorrosive. | Floors must be smooth, non-corrosive, and waterproof. | Floors must be smooth, non-corrosive, and waterproof. | 410.504
30 Days | Kitchen |  | Floors are not waterproof. | Floors are not waterproof. | Floors are not waterproof.
30 Days | Kitchen |  | Wooden floor does not have a water-resistant finish or has cracks. | Wooden floors must have a water- resistant finish and no cracks. | Wooden floors must have a water- resistant finish and no cracks. | 410.504
30 Days | Kitchen |  | No space and proper electrical outlet to install a refrigerator. | Must have space and proper electrical outlet to install a refrigerator. | Must have space and proper electrical outlet to install a refrigerator. | 410.100(A)(3)
30 Days | Bathroom |  | There is not at least one toilet, free from defects in a room not used for living, sleeping, cooking, or eating. | Landlord must supply one toilet, free from defects in a room not used for living, sleeping, cooking, or eating. | Landlord must supply one toilet, free from defects in a room not used for living, sleeping, cooking, or eating. | 410.150(A)(1)
30 Days | Bathroom |  | No sink that is free from defects. | Landlord must supply one sink, free from defects. | Landlord must supply one sink, free from defects. | 410.150(A)(2)
30 Days | Bathroom |  | No shower or bathtub, free from defects, in a room not used for living, sleeping, cooking, or eating. | Landlord must supply one shower or bathtub, free from defects in a room not used for living, sleeping, cooking, or eating. | Landlord must supply one shower or bathtub, free from defects in a room not used for living, sleeping, cooking, or eating. | 410.150(A)(3)
30 Days | Bathroom |  | No electric light fixture in good repair. | Bathroom must include at least one electric light fixture, in good repair. | Bathroom must include at least one electric light fixture, in good repair. | 410.252
30 Days | Bathroom |  | Indequate ventilation. | Bathroom does not provide adequate ventilation. | Bathroom does not provide adequate ventilation. | 410.28
30 Days | Bathroom |  | Floor is not smooth. | Floor must be smooth, nonabsorbent, and have a waterproof covering. | Floor must be smooth, nonabsorbent, and have a waterproof covering. | 410.504(A)
30 Days | Bathroom |  | Floor is is not waterproof. | Floor is is not waterproof. | Floor is is not waterproof.
30 Days | Bathroom |  | Walls are not nonabsorbent, waterproof, and smooth material up to 4 feet. | Walls must be nonabsorbent, waterproof, and smooth material up to 4 feet. Walls above bathtubs with showers or shower stalls must have nonabsorbent, waterproof covering up to at least 6 feet. | Walls must be nonabsorbent, waterproof, and smooth material up to 4 feet. Walls above bathtubs with showers or shower stalls must have nonabsorbent, waterproof covering up to at least 6 feet. | 410.504(B) and (C)
30 Days | Bathroom |  | Walls above bathtubs with showers or shower stalls are not nonabsorbent and do not waterproof covering up to at least 6 feet. | Walls above bathtubs with showers or shower stalls must have nonabsorbent, waterproof covering up to at least 6 feet. | Walls above bathtubs with showers or shower stalls must have nonabsorbent, waterproof covering up to at least 6 feet. | 410.504(B) and (C)
30 Days | Bathroom |  | A room with a toilet, bathtub, or shower does not have a closable door. | Each room that contains a toilet, bathtub, or shower must have a closable door. | Each room that contains a toilet, bathtub, or shower must have a closable door. | 410.150(A)(4)
30 Days | Water |  | Insufficient water or insufficient water pressure to meet ordinary needs. | Landlord must provide: Enough water, with adequate pressure, to meet your ordinary needs. | Landlord must provide: Enough water, with adequate pressure, to meet your ordinary needs. | 410.18
30 Days | Water |  | Not enough hot water at a temperature between 110 and 130 degrees Fahrenheit, with enough pressure, for ordinary use, and there is no written agreement that requires tenant to provide hot water. | Landlord must supply enough hot water at a temperature between 110 and 130 degrees Fahrenheit, with enough pressure, for tenant's ordinary use. | Landlord must supply enough hot water at a temperature between 110 and 130 degrees Fahrenheit, with enough pressure, for tenant's ordinary use. | 410.19
30 Days | Water |  | There is a written rental agreement that says tenant must provide hot water, but landlord has not provided a hot water heater. | Tenant has a written rental agreement that says they must provide hot water, but landlord has not provided a hot water heater. | Tenant has a written rental agreement that says they must provide hot water, but landlord has not provided a hot water heater. | 410.19
30 Days | Water |  | Water heater is not properly vented or uses an open flame. | A water heater that vents to a chimney or vent that leads outdoors. If the heater is electric, it does not need a vent. Old-fashioned, open-flame water heaters are illegal. | A water heater that vents to a chimney or vent that leads outdoors. If the heater is electric, it does not need a vent. Old-fashioned, open-flame water heaters are illegal. | 410.202
30 Days | Water |  | A toilet, sink, kitchen sink, and shower or bathtub is not connected correctly to hot and cold water lines or is not connected correctly to a sanitary drain line. | A toilet, sink, kitchen sink, and shower or bathtub must be connected correctly to hot and cold water lines. They must also be connected correctly to a sanitary drain line. | A toilet, sink, kitchen sink, and shower or bathtub must be connected correctly to hot and cold water lines. They must also be connected correctly to a sanitary drain line. | 410.35
30 Days | Water |  | The landlord must provide and pay for water. But the landlord may bill a tenant for water and sewer only if the tenant moved into the apartment on or after March 16, 2005 and if the landlord has: a) Installed and is maintaining a water submeter that measures water going only to your unit; b) Installed low-flow water-saving devices on all showers, faucets, and toilets in your unit; c) Described the water billing arrangements between you and the landlord, in detail, in a written rental agreement; and d) Filed a certificate with the local board of health, or the agency responsible for enforcing the state Sanitary Code that says your unit is legal and meets the code. | The landlord must provide and pay for water. But the landlord may bill a tenant for water and sewer only if the tenant moved into the apartment on or after March 16, 2005 and if the landlord has: a) Installed and is maintaining a water submeter that measures water going only to your unit; b) Installed low-flow water-saving devices on all showers, faucets, and toilets in your unit; c) Described the water billing arrangements between you and the landlord, in detail, in a written rental agreement; and d) Filed a certificate with the local board of health, or the agency responsible for enforcing the state Sanitary Code that says your unit is legal and meets the code. | The landlord must provide and pay for water. But the landlord may bill a tenant for water and sewer only if the tenant moved into the apartment on or after March 16, 2005 and if the landlord has: a) Installed and is maintaining a water submeter that measures water going only to your unit; b) Installed low-flow water-saving devices on all showers, faucets, and toilets in your unit; c) Described the water billing arrangements between you and the landlord, in detail, in a written rental agreement; and d) Filed a certificate with the local board of health, or the agency responsible for enforcing the state Sanitary Code that says your unit is legal and meets the code. | G. L. c. 186, §14; G.L. c. 186, §22; 410.180, 410.354(D)
30 Days | Water |  | Landlord does not allow you access to any water submeters that affect your unit so that, if you need to, you can have the accuracy of the submeter checked. | A landlord must also allow you access to any water submeters that affect your unit so that, if you need to, you can have the accuracy of the submeter checked. | A landlord must also allow you access to any water submeters that affect your unit so that, if you need to, you can have the accuracy of the submeter checked. | 410.354(E)
30 Days | Heat |  | Landlord does not provide equipment and appliances to heat every habitable room and bathrooms to at least 68 degrees Fahrenheit between 7 a.m. and 11 p.m. from September 16 to June 14. | From September 16 to June 14, the landlord must provide equipment and appliances to heat every habitable room and bathrooms to at least: 68 degrees Fahrenheit between 7 a.m. and 11 p.m. | From September 16 to June 14, the landlord must provide equipment and appliances to heat every habitable room and bathrooms to at least: 68 degrees Fahrenheit between 7 a.m. and 11 p.m. | 410.200-201
30 Days | Heat |  | Landlord does not provide equipment and appliances to heat every habitable room and bathrooms to at least 68 degrees Fahrenheit between 64 degrees Fahrenheit between 11 p.m. and 7 a.m. from September 16 to June 14. | 64 degrees Fahrenheit between 11 p.m. and 7 a.m. | 64 degrees Fahrenheit between 11 p.m. and 7 a.m. | 410.200-201
30 Days | Heat |  | Landlord does not provide and maintain heating equipment in good working order. | The landlord must provide and maintain heating equipment in good working order. | The landlord must provide and maintain heating equipment in good working order. | 410.351
30 Days | Heat |  | Non-electric space heaters do not vent to a chimney or a vent that leads outdoors. | Space heaters must vent to a chimney or a vent that leads outdoors. If the heater is electric, it does not need a vent. | Space heaters must vent to a chimney or a vent that leads outdoors. If the heater is electric, it does not need a vent. | 410.202
30 Days | Heat |  | The landlord must provide and pay for heat unless you signed a written agreement that says you must pay for heat. | The landlord must provide and pay for heat unless you signed a written agreement that says you must pay for heat. | The landlord must provide and pay for heat unless you signed a written agreement that says you must pay for heat. | 410.201
30 Days | Heat |  | The temperature is more than 78 degrees Fahrenheit at any time during the heating season. | The temperature must not be more than 78 degrees Fahrenheit at any time during the heating season. | The temperature must not be more than 78 degrees Fahrenheit at any time during the heating season. | 410.201
30 Days | Ventilation and Light |  | Every room must have windows, skylights, doors, or transoms in the outside wall or roof that open easily to at least 4% of the floor area of that room; or adequate mechanical ventilation systems. | Every room must have windows, skylights, doors, or transoms in the outside wall or roof that open easily to at least 4% of the floor area of that room; or adequate mechanical ventilation systems. | Every room must have windows, skylights, doors, or transoms in the outside wall or roof that open easily to at least 4% of the floor area of that room; or adequate mechanical ventilation systems. | 410.28
30 Days | Ventilation and Light |  | Each room must have transparent or translucent glass that admits light from the outdoors. The glass must be equal in area to at least 8% of the floor area of that room. This does not apply to a bathroom or a kitchen smaller than 70 square feet. | Each room must have transparent or translucent glass that admits light from the outdoors. The glass must be equal in area to at least 8% of the floor area of that room. This does not apply to a bathroom or a kitchen smaller than 70 square feet. | Each room must have transparent or translucent glass that admits light from the outdoors. The glass must be equal in area to at least 8% of the floor area of that room. This does not apply to a bathroom or a kitchen smaller than 70 square feet. | 410.250(A), 410.251, 410.257
30 Days | Ventilation and Light |  | Buildings with 10 or more units must have an emergency lighting system in halls and at exits. | Buildings with 10 or more units must have an emergency lighting system in halls and at exits. | Buildings with 10 or more units must have an emergency lighting system in halls and at exits. | 410.483
30 Days | Electricity, Wiring and Gas |  | The landlord must provide and pay for electricity and gas if your apartment is not individually metered or you do not have a written rental agreement that says you must pay for electric and gas. | The landlord must provide and pay for electricity and gas if your apartment is not individually metered or you do not have a written rental agreement that says you must pay for electric and gas. | The landlord must provide and pay for electricity and gas if your apartment is not individually metered or you do not have a written rental agreement that says you must pay for electric and gas. | 410.354(A)
30 Days | Electricity, Wiring and Gas |  | Electrical service must provide enough amperage to meet your reasonable needs. | Electrical service must provide enough amperage to meet your reasonable needs. | Electrical service must provide enough amperage to meet your reasonable needs. | 410.255
30 Days | Electricity, Wiring and Gas |  | In every room other than the kitchen and bathroom, your landlord must provide: - 2 separate electrical wall outlets, or - 1 electric light fixture and 1 wall outlet. | In every room other than the kitchen and bathroom, your landlord must provide: - 2 separate electrical wall outlets, or - 1 electric light fixture and 1 wall outlet. | In every room other than the kitchen and bathroom, your landlord must provide: - 2 separate electrical wall outlets, or - 1 electric light fixture and 1 wall outlet. | 410.250(B)
30 Days | Electricity, Wiring and Gas |  | Laundry room. | Laundry room. | Laundry room. | 410.253(A)
30 Days | Electricity, Wiring and Gas |  | Pantry. | Pantry. | Pantry. | 410.253(A)
30 Days | Electricity, Wiring and Gas |  | Hallways, stairways, foyer, or community corridor. | Hallways, stairways, foyer, or community corridor. | Hallways, stairways, foyer, or community corridor. | 410.253(A)
30 Days | Electricity, Wiring and Gas |  | Closet or storage space. | Closet or storage space. | Closet or storage space. | 410.253(A)
30 Days | Electricity, Wiring and Gas |  | Cellar. | Cellar. | Cellar. | 410.253(A)
30 Days | Electricity, Wiring and Gas |  | Porch. | Porch. | Porch. | 410.253(A)
30 Days | Electricity, Wiring and Gas |  | Outside stairways and passageways. | Outside stairways and passageways. | Outside stairways and passageways. | 410.253(A)
30 Days | Electricity, Wiring and Gas |  | Wiring must not pass under rugs or other floor coverings, or through doorways. | Wiring must not pass under rugs or other floor coverings, or through doorways. | Wiring must not pass under rugs or other floor coverings, or through doorways. | 410.256
30 Days | Electricity, Wiring and Gas |  | Temporary wiring may not be used. But you can use extension cords for portable appliances or fixtures. | Temporary wiring may not be used. But you can use extension cords for portable appliances or fixtures. | Temporary wiring may not be used. But you can use extension cords for portable appliances or fixtures. | 410.256
30 Days | Electricity, Wiring and Gas |  | Interior passageways. | Interior passageways. | Interior passageways. | 410.254(A)
30 Days | Electricity, Wiring and Gas |  | Hallways. | Hallways. | Hallways. | 410.254(A)
30 Days | Electricity, Wiring and Gas |  | Stairways. | Stairways. | Stairways. | 410.254(A)
30 Days | Electricity, Wiring and Gas |  | In buildings with 3 units or fewer, the light fixtures in common hallways, stairways, and other common passages may be wired to the service for the unit next to the fixture. The landlord must pay for electricity to the fixture if you do not have a written agreement that says you pay for it. The landlord must also tell other occupants in the building about the agreement. | In buildings with 3 units or fewer, the light fixtures in common hallways, stairways, and other common passages may be wired to the service for the unit next to the fixture. The landlord must pay for electricity to the fixture if you do not have a written agreement that says you pay for it. The landlord must also tell other occupants in the building about the agreement. | In buildings with 3 units or fewer, the light fixtures in common hallways, stairways, and other common passages may be wired to the service for the unit next to the fixture. The landlord must pay for electricity to the fixture if you do not have a written agreement that says you pay for it. The landlord must also tell other occupants in the building about the agreement. | 410.254(B)
30 Days | Electricity, Wiring and Gas |  | Buildings with 10 or more units must have back-up emergency lighting independent of the conventional lighting. | Buildings with 10 or more units must have back-up emergency lighting independent of the conventional lighting. | Buildings with 10 or more units must have back-up emergency lighting independent of the conventional lighting. | G.L. c. 143, §21D, 410.483
30 Days | Safety |  | There must be as many exits as necessary for safe passage of all people as defined by the state Building Code. If you have questions, ask the Housing Inspector. | There must be as many exits as necessary for safe passage of all people as defined by the state Building Code. If you have questions, ask the Housing Inspector. | There must be as many exits as necessary for safe passage of all people as defined by the state Building Code. If you have questions, ask the Housing Inspector. | 410.45 780 C.M.R. 10.00
30 Days | Safety |  | In a property with more than one unit, the landlord must keep all shared exits free from obstruction. | In a property with more than one unit, the landlord must keep all shared exits free from obstruction. | In a property with more than one unit, the landlord must keep all shared exits free from obstruction. | 410.451
30 Days | Safety |  | You must keep all exits from your unit free from obstruction. The landlord must keep any shared exit free from obstruction. | You must keep all exits from your unit free from obstruction. The landlord must keep any shared exit free from obstruction. | You must keep all exits from your unit free from obstruction. The landlord must keep any shared exit free from obstruction. | 410.451
30 Days | Safety |  | The landlord must keep all exits safe, operable, and free of ice and snow. This includes exterior stairways and fire escapes. If you have an exit you do not share with anyone, you and your landlord can have a written agreement that says you must keep your exit free of snow and ice. | The landlord must keep all exits safe, operable, and free of ice and snow. This includes exterior stairways and fire escapes. If you have an exit you do not share with anyone, you and your landlord can have a written agreement that says you must keep your exit free of snow and ice. | The landlord must keep all exits safe, operable, and free of ice and snow. This includes exterior stairways and fire escapes. If you have an exit you do not share with anyone, you and your landlord can have a written agreement that says you must keep your exit free of snow and ice. | 410.452
30 Days | Safety |  | The landlord must install and maintain fire extinguishers as required by the local fire chief. | The landlord must install and maintain fire extinguishers as required by the local fire chief. | The landlord must install and maintain fire extinguishers as required by the local fire chief. | 527 C.M.R. §10.02
30 Days | Safety |  | The landlord must make sure that all exterior windows that open and all entry doors have working locks. | The landlord must make sure that all exterior windows that open and all entry doors have working locks. | The landlord must make sure that all exterior windows that open and all entry doors have working locks. | 410.480(D) and (E)
30 Days | Safety |  | A main front door that closes and locks automatically and every exterior door must have an operating lock. | A main front door that closes and locks automatically and every exterior door must have an operating lock. | A main front door that closes and locks automatically and every exterior door must have an operating lock. | 410.480(C)
30 Days | Safety |  | Buildings over 70 feet high must have an automatic sprinkler system in accordance with the state Building Code. If you have questions, ask the Housing Inspector. | Buildings over 70 feet high must have an automatic sprinkler system in accordance with the state Building Code. If you have questions, ask the Housing Inspector. | Buildings over 70 feet high must have an automatic sprinkler system in accordance with the state Building Code. If you have questions, ask the Housing Inspector. | G.L. c. 148, §26A
30 Days | Safety |  | Buildings with 10 or more units must have lighted signs that show both a primary and a secondary means of exit The signs must use symbols so that people do not need to speak English to find the exits. | Buildings with 10 or more units must have lighted signs that show both a primary and a secondary means of exit The signs must use symbols so that people do not need to speak English to find the exits. | Buildings with 10 or more units must have lighted signs that show both a primary and a secondary means of exit The signs must use symbols so that people do not need to speak English to find the exits. | G.L. c. 143, §21D
30 Days | Safety |  | The landlord must install and keep smoke detectors and carbon monoxide alarms in good working order in most buildings. Ask the Fire Marshall if you have questions. | The landlord must install and keep smoke detectors and carbon monoxide alarms in good working order in most buildings. Ask the Fire Marshall if you have questions. | The landlord must install and keep smoke detectors and carbon monoxide alarms in good working order in most buildings. Ask the Fire Marshall if you have questions. | 410.482 527 C.M.R. 31.00 and 32.00
30 Days | Structural Elements |  | The landlord must maintain all structural elements in good repair. They must be weathertight, free from chronic dampness, insect-proof, and rodent-proof. They must be free of holes, cracks, loose plaster and other defects. | The landlord must maintain all structural elements in good repair. They must be weathertight, free from chronic dampness, insect-proof, and rodent-proof. They must be free of holes, cracks, loose plaster and other defects. | The landlord must maintain all structural elements in good repair. They must be weathertight, free from chronic dampness, insect-proof, and rodent-proof. They must be free of holes, cracks, loose plaster and other defects. | 410.5 410.55
30 Days | Structural Elements |  | Foundation is not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | Foundation is not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | Foundation is not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | 410.5
30 Days | Structural Elements |  | Floor is not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | Floor is not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | Floor is not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | 410.5
30 Days | Structural Elements |  | Walls are not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | Walls are not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | Walls are not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | 410.5
30 Days | Structural Elements |  | Ceiling is not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | Ceiling is not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | Ceiling is not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | 410.5
30 Days | Structural Elements |  | Doors and windows must have good weather stripping or storm window or storm door. They must also open fully and easily. All glass panes must be unbroken and caulked correctly. | Doors and windows must have good weather stripping or storm window or storm door. They must also open fully and easily. All glass panes must be unbroken and caulked correctly. | Doors and windows must have good weather stripping or storm window or storm door. They must also open fully and easily. All glass panes must be unbroken and caulked correctly. | 410.500, 501
30 Days | Structural Elements |  | Roof is not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | Roof is not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | Roof is not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | 410.5
30 Days | Structural Elements |  | Chimneys and other structural elements are not weathertight, free from chronic dampness, insect-proof, or rodent-proof. Or has holes, cracks, loose plaster and other defects. | Chimneys and other structural elements | Chimneys and other structural elements | 410.5
30 Days | Structural Elements |  | Staircases must be stable with a safe handrail. | Staircases must be stable with a safe handrail. | Staircases must be stable with a safe handrail. | 410.500, 503(A) and (B)
30 Days | Structural Elements |  | Every porch, balcony or roof over 30 inches above the ground must have a wall or guardrail that is at least 3 feet high. | Every porch, balcony or roof over 30 inches above the ground must have a wall or guardrail that is at least 3 feet high. | Every porch, balcony or roof over 30 inches above the ground must have a wall or guardrail that is at least 3 feet high. | 410.503(C)
30 Days | Space |  | Every dwelling unit must have at least 150 square feet of floor space for the first occupant and 100 square feet for each additional occupant. Add up all the floor space in habitable rooms to get the number of square feet in your unit. | Every dwelling unit must have at least 150 square feet of floor space for the first occupant and 100 square feet for each additional occupant. Add up all the floor space in habitable rooms to get the number of square feet in your unit. | Every dwelling unit must have at least 150 square feet of floor space for the first occupant and 100 square feet for each additional occupant. Add up all the floor space in habitable rooms to get the number of square feet in your unit. | 410.400(A)
30 Days | Space |  | Every bedroom must have at least 70 square feet of floor space if only one person sleeps there. If more than one person is sleeping in the room, it must have 50 square feet of floor space for each person. | Every bedroom must have at least 70 square feet of floor space if only one person sleeps there. If more than one person is sleeping in the room, it must have 50 square feet of floor space for each person. | Every bedroom must have at least 70 square feet of floor space if only one person sleeps there. If more than one person is sleeping in the room, it must have 50 square feet of floor space for each person. | 410.400(B)
30 Days | General Maintenance |  | The landlord must keep common areas clean and sanitary. If the landlord or a manager does not live in the property, the landlord must post a sign with the name, address, and phone number of the landlord or their agent. The sign must be inside the building and at least 20 square inches. | The landlord must keep common areas clean and sanitary. If the landlord or a manager does not live in the property, the landlord must post a sign with the name, address, and phone number of the landlord or their agent. The sign must be inside the building and at least 20 square inches. | The landlord must keep common areas clean and sanitary. If the landlord or a manager does not live in the property, the landlord must post a sign with the name, address, and phone number of the landlord or their agent. The sign must be inside the building and at least 20 square inches. | 410.602(D) 410.481
30 Days | General Maintenance |  | A landlord may not turn off or interfere with a tenant's water, hot water, heat, light, power, or gas. The only time a landlord may shut off utilities temporarily, is to make necessary repairs. And the landlord must give you reasonable notice. | A landlord may not turn off or interfere with a tenant€™s water, hot water, heat, light, power, or gas. The only time a landlord may shut off utilities temporarily, is to make necessary repairs. And the landlord must give you reasonable notice. | A landlord may not turn off or interfere with a tenant€™s water, hot water, heat, light, power, or gas. The only time a landlord may shut off utilities temporarily, is to make necessary repairs. And the landlord must give you reasonable notice. | 410.62
30 Days | General Maintenance |  | All windows that open to the outside, on the first four floors, must have screens between April 1 and 30-Oct | All windows that open to the outside, on the first four floors, must have screens between April 1 and 30-Oct | All windows that open to the outside, on the first four floors, must have screens between April 1 and 30-Oct | 410.551 410.553
30 Days | General Maintenance |  | All doors that open directly to the outside must have screens between April 1 and October 30. | All doors that open directly to the outside must have screens between April 1 and October 30. | All doors that open directly to the outside must have screens between April 1 and October 30. | 410.552 410.553
30 Days | General Maintenance |  | Sinks, bathtubs, showers and toilets. | Sinks, bathtubs, showers and toilets. | Sinks, bathtubs, showers and toilets. | 410.351(A)
30 Days | General Maintenance |  | Water heating facilities, gas pipes, heating equipment, and water pipes. | Water heating facilities, gas pipes, heating equipment, and water pipes. | Water heating facilities, gas pipes, heating equipment, and water pipes. | 410.351(A)
30 Days | General Maintenance |  | Stoves and ovens. | Stoves and ovens. | Stoves and ovens. | 410.351(A)
30 Days | General Maintenance |  | Catch basins, vents, drains, and other similar fixtures. | Catch basins, vents, drains, and other similar fixtures. | Catch basins, vents, drains, and other similar fixtures. | 410.351(A)
30 Days | General Maintenance |  | Connections to water, sewer, and gas lines, and the subsurface sewage disposal system, if any. | Connections to water, sewer, and gas lines, and the subsurface sewage disposal system, if any. | Connections to water, sewer, and gas lines, and the subsurface sewage disposal system, if any. | 410.351(A)
30 Days | General Maintenance |  | All electrical fixtures, outlets, and wiring. | All electrical fixtures, outlets, and wiring. | All electrical fixtures, outlets, and wiring. | 410.351(A)
30 Days | General Maintenance |  | All smoke detectors and carbon monoxide alarms. | All smoke detectors and carbon monoxide alarms. | All smoke detectors and carbon monoxide alarms. | 410.351(A)
30 Days | General Maintenance |  | All heating and ventilation equipment. | All heating and ventilation equipment. | All heating and ventilation equipment. | 410.351(A)
30 Days | General Maintenance |  | Landlord-installed equipment, including dishwashers, washing machines, dryers, refrigerators, and garbage disposals. | Landlord-installed equipment, including dishwashers, washing machines, dryers, refrigerators, and garbage disposals. | Landlord-installed equipment, including dishwashers, washing machines, dryers, refrigerators, and garbage disposals. | 410.351 (B)
30 Days | Rodents and insects |  | No rats, roaches, mice, bedbugs, or other insects are allowed in the apartment or building. The landlord must exterminate them when they are found in common areas or in any individual apartment in buildings with two or more units. | No rats, roaches, mice, bedbugs, or other insects are allowed in the apartment or building. The landlord must exterminate them when they are found in common areas or in any individual apartment in buildings with two or more units. | No rats, roaches, mice, bedbugs, or other insects are allowed in the apartment or building. The landlord must exterminate them when they are found in common areas or in any individual apartment in buildings with two or more units. | 410.55
30 Days | Garbage |  | In buildings with 3 or more units, the landlord must provide enough watertight garbage cans. Cans must have tightly fitting covers. The landlord must put cans in places that are convenient to tenants and do not allow odors into your living space. | In buildings with 3 or more units, the landlord must provide enough watertight garbage cans. Cans must have tightly fitting covers. The landlord must put cans in places that are convenient to tenants and do not allow odors into your living space. | In buildings with 3 or more units, the landlord must provide enough watertight garbage cans. Cans must have tightly fitting covers. The landlord must put cans in places that are convenient to tenants and do not allow odors into your living space. | 410.600(C)
30 Days | Garbage |  | In buildings with 3 or more units, the landlord is responsible for collecting and disposing of garbage. | In buildings with 3 or more units, the landlord is responsible for collecting and disposing of garbage. | In buildings with 3 or more units, the landlord is responsible for collecting and disposing of garbage. | 410.601
30 Days | Lead paint |  | No lead paint may be used on any surface. | No lead paint may be used on any surface. | No lead paint may be used on any surface. | 410.502
30 Days | Lead paint |  | If you have a child under the age of 6, your landlord must remove or properly cover lead paint up to 5 feet from the floor. Repainting with a non-lead paint is not good enough. It is illegal to refuse to rent or to evict a household because of lead paint. | If you have a child under the age of 6, your landlord must remove or properly cover lead paint up to 5 feet from the floor. Repainting with a non-lead paint is not good enough. It is illegal to refuse to rent or to evict a household because of lead paint. | If you have a child under the age of 6, your landlord must remove or properly cover lead paint up to 5 feet from the floor. Repainting with a non-lead paint is not good enough. It is illegal to refuse to rent or to evict a household because of lead paint. | G.L. c. 111, §197
Note on D2: ====== ID#AAAAIsRMVBM Allie Girouard (2021-06-07 18:21:03) What is "enough" heat?
Note on D11: ====== ID#AAAAIsRMVB0 Allie Girouard (2021-06-07 18:24:01) What does "inadequate exists" mean?
Note on D36: ====== ID#AAAAIsRMVEg Allie Girouard (2021-06-07 18:32:44) How is this different than "Kitchen sink is too small"?
Note on D39: ====== ID#AAAAIsRMVEk Allie Girouard (2021-06-07 18:34:02) How is this different from "stove or oven is not in good working condition"? Can be combined?
Note on D40: ====== ID#AAAAIsRMVEo Allie Girouard (2021-06-07 18:36:03) Sink and stove is already covered above, correct?
Note on D48: ====== ID#AAAAIsRMVFI Allie Girouard (2021-06-07 18:39:00) Isn't the toilet covered above? Does the room distinction make it separate?
Note on D63: ====== ID#AAAAIsRMVGg Allie Girouard (2021-06-07 18:43:59) Not sure how to deal with the water payment issue